Table 5. Troubleshooting Table

| Problem | Possible Reason | Possible Solution |
| --- | --- | --- |
| Large variation in Ct observed between biological replicates | Inconsistent cell seeding | Ensure equal numbers of cells are seeded in each well by careful counting and dispensing from a well-mixed stock of cells in suspension. |
|  | Incomplete cell lysis/recovery | Triturate cells through micropipette tip more forcefully to ensure dissociation of cell clumps. Ensure complete recovery by scraping the well with the micropipette tip, paying particular attention to the cells on the edges of the wells. |
|  | Cells in some wells may have been washed away | Wash cells gently with PBS, ensure cells are not washed away by confirming adhesion with a microscope. |
| qPCR “no template control” shows signal | Contamination of reagents or cross-contamination during plate loading | Use dedicated micropipettes and filtered tips to minimize contamination. If a cell dilution is being assayed, ensure aliquots are always done from lower to higher cell concentrations. |
|  | Primer-dimer amplification | Check and minimize primer-primer hybridization using primer design software Ensure hotstart DNA polymerase is used for qPCR to reduce primer-dimer formation. |
| No amplification detected during qPCR | RT reaction failed or inhibited | Ensure that the RT is functional under the lysis conditions. If lysis buffer is different from what is suggested above, ensure RT is able to proceed in the presence of detergents used. Lyse a serial dilution of cells and detect a known, abundant small RNA or miRNA (e.g. U6 snoRNA or miR-16) to validate that RT is efficient. |
|  | RNase contamination of labware | Use dedicated micropipettes and filtered tips for work with RNA. Do NOT use micropipettes used for RNase work for this application. |
|  | miRNA of interest could be of low expression or is not expressed in sample | Use a higher (but not over-confluent) cell density. |
|  |  | Validate assay with RT-qPCR on a serial dilution of synthetic miRNA to determine assay sensitivity. |