**Additional Table 2.** MAGE-A4 and NY-ESO-1 IHC analyses of mRNA-assessed tumour samples.

|  |  |
| --- | --- |
| **MAGE-A4** | **qRT-PCR** |
| Positive | Negative |
| **IHC** | Positive | 21 | 2 |
| Negative | 12 | 6 |

IHC: sensitivity 64% (21/33), specificity 75% (6/8).

|  |  |
| --- | --- |
| **NY-ESO-1** | **qRT-PCR** |
| Positive | Negative |
| **IHC** | Positive | 3 | 1 |
| Negative | 2 | 14 |

IHC: sensitivity 60% (3/5), specificity 93% (14/15).