**Supplementary Table 1: Mycoplasma Test**

|  |  |
| --- | --- |
| **Sample** | **Read B/Read A** |
| Positive control | 40.34 |
| Negative control | 0.1 |
| C1P4 | 0.29 |

The negative should produce a ratio of < 1.0.